CJack — Smart Automated First-Aid Jacket

1. WHAT IS CJACK?

CJack (CPR Jacket) is a wearable, automated emergency medical device that detects cardiac arrest and automatically delivers chest compressions, motorized air assist, and emergency alerts — all without requiring any medical training from the user or bystander.

It is not just a student project. It is a complete emergency response system that combines:

- Automated chest compressions

- Motorized ambient air delivery (oxygen assist)

- Live patient vitals transmitted to ambulance via LoRaWAN

- Multilingual voice guidance + visual display

- Deployable anywhere like an AED (fire extinguisher model)

2. WHY IS CJACK NEEDED?

Every year millions of people die from cardiac arrest because:

- CPR is not started immediately after collapse

- Bystanders do not know how to perform CPR

- The patient is alone with no one around

- Ambulance takes 8–15 minutes in India

- Manual CPR quality drops after 2 minutes due to human fatigue

- Existing automated CPR machines cost ₹5–8 lakh and need trained operators

Every minute without CPR reduces survival chance by 10%. CJack solves all six problems in one device at ₹17,000–₹25,000.

3. PHYSICAL DESIGN

The design (as seen in the product render image) is a rigid chest vest — not a soft fabric jacket. This is critical because:

3.1 Compression Module

- Uses a cam/eccentric disc rotor mechanism

- Same mechanical principle as professional LUCAS 3 CPR device (costs ₹5–8 lakh)

- High-torque DC motor drives an eccentric cam that repeatedly depresses the chest pad

- Positioned precisely over the lower sternum

- Delivers 100–120 compressions per minute at 5–6 cm depth (AHA standard)

3.2 Rigid ABS Chest Housing

- Rigid polycarbonate/ABS plate instead of soft fabric

- Solves the biggest problem — inconsistent compression depth due to loose fit

- Ensures compression force always goes straight into the sternum

- Regardless of body position or movement

3.3 Rapid-Wrap Straps

- Buckle straps like a tactical vest

- Any bystander deploys CJack in under 30 seconds

- No training required

- Color-coded alignment markers for correct sternum positioning

- Adjustable for different body sizes

3.4 Force & Depth Sensors

- Load cells embedded under the compression pad

- Measure actual force applied to chest in real time

- ESP32 adjusts motor speed automatically to maintain correct depth

- Larger/stiffer chest = more force; smaller/softer = less force

- This is called closed-loop feedback control — same technology in hospital devices

4. COMPLETE FEATURES IN DETAIL

FEATURE 1 — Automated CPR Compression System

How it works:

- Motor spins eccentric cam → cam pushes compression pad → chest compresses → cam rotates back → chest decompresses → repeat

- Rate: exactly 100–120 compressions/minute

- Depth: 5–6 cm (auto-adjusted by pressure sensor)

- Starts automatically on cardiac arrest confirmation

- Stops automatically when pulse returns

- Resumes if pulse drops again

- Manual override switch to stop anytime

Why it works:

- Same cam mechanism as LUCAS 3 — clinically proven

- Closed-loop feedback prevents over/under compression

- Never gets tired unlike manual CPR

FEATURE 2 — Motorized Oxygen Mask (BVM-Style Air Assist)

How it works:

- A small motor drives a bellows pump

- Bellows pushes ambient air (room air) through a face mask

- Delivers controlled airflow to patient's airway

- Based on BVM (Bag Valve Mask) principle — same thing paramedics use in the field

Why it is innovative:

- No oxygen cylinder needed — pumps room air

- Increases oxygen delivery vs natural collapsed breathing

- Safe default low flow rate — no oxygen toxicity risk

- Activated by manual switch — not automatic

- Bystander or responder decides when to apply mask

- Completely independent motor on separate power line

Medical significance:

- CPR alone circulates blood but oxygen delivery makes it far more effective

- No existing wearable CPR device combines compressions + air assist

- This feature alone makes CJack potentially patent-worthy

FEATURE 3 — LILYGO T-Beam Helium V1.2 (Network & Communication)

This is the most technically advanced component and completely solves CJack's network problem.

What LILYGO T-Beam Helium V1.2 is:

- A single development board containing ESP32 + GPS + LoRa radio

- Replaces three separate modules (ESP32 + Neo-6M GPS + SIM800L GSM)

- Uses the Helium decentralized LoRaWAN network

- Free to use, growing across India

What LoRa gives CJack:

| Scenario | GSM/WiFi | LoRa (T-Beam) |
| --- | --- | --- |
| No mobile signal | Fails | Works |
| Rural village | Weak | 5–15 km range |
| Basement | No signal | Penetrates walls |
| Forest / Highway | Dead zone | Works |
| Monthly SIM cost | Ongoing | Free |
| Battery drain | High | Ultra low power |

How it works in CJack:

- Cardiac arrest detected → T-Beam immediately broadcasts GPS coordinates + heart rate + emergency flag via LoRa

- Ambulance/hospital receives the packet on LoRa gateway — no phone call needed

- Ambulance driver sees patient location on map + live ECG/heart rate on dashboard app

- Paramedic prepares correct equipment during transit

- If LoRa unavailable → GSM SMS sent as fallback

- If no network at all → retries every 30 seconds, sends queued data when signal found

- Works in villages, basements, remote temples, forests, highways — anywhere

Bonus: Built-in GPS means no separate GPS module needed. ESP32 on-board means no separate microcontroller needed.

FEATURE 4 — Multi-Sensor Cardiac Arrest Detection

Single-sensor ECG systems are dangerous — motion artifacts can trigger compression on a conscious person causing serious injury. CJack uses three independent sensors that must all agree:

Sensor 1 — AD8232 ECG Sensor

- Monitors heart's electrical activity continuously

- Detects flat-line ECG, ventricular fibrillation, arrhythmia

- Primary cardiac arrest indicator

Sensor 2 — Hospital-Grade SpO2 Sensor (Pulse Oximeter)

- Same sensor used in ICU monitors and hospital finger clips

- Measures pulse rate AND blood oxygen saturation

- Confirms absence of pulse independently from ECG

Sensor 3 — MPU-6050 Accelerometer

- Detects body motion

- Filters out false ECG readings caused by movement

- Prevents false activation while patient is walking or running

Confirmation logic:

- All three sensors must confirm cardiac arrest

- 10-second confirmation delay after initial detection

- Only then does CPR activate

- Result: near-zero false positive rate

FEATURE 5 — Multilingual Voice Guidance + Visual Display

Voice Guidance:

- Default language: English

- Auto-detects spoken language of bystander

- Switches to: Tamil, Hindi, Telugu, Kannada, Malayalam, and more

- Gives step-by-step instructions: strap positioning, switch activation, compression status

- Announces: "Cardiac arrest detected," "CPR started," "Emergency alert sent," "Help is on the way," "Pulse detected, CPR paused"

- Calm, clear voice even when bystander is panicking

Visual Display (OLED/LCD):

- Shows live heart rate

- Compression count per minute

- GPS lock status (sending / waiting)

- Battery percentage

- Step-by-step icon-based visual diagrams — no reading required

- Useful for deaf users and noisy environments (gym, factory, road)

Why this matters for India:

- 22 official languages

- Millions of people with no medical training

- Rural areas where English is not understood

- A voice in Tamil saying "Jacket correct-a wear pannunga, start button press pannunga" could save a life that English instructions would lose

FEATURE 6 — Dedicated Battery System

- High-capacity LiPo (Lithium Polymer) rechargeable battery

- Dedicated solely to CJack — no power sharing with any other device

- Powers everything simultaneously: compression motor + air pump + GPS + LoRa + ECG sensors + display + speaker

- USB-C rechargeable — charged like a fire extinguisher at deployment locations

- Low battery warning at 20% and 10% via voice and display

- Estimated runtime: 30–45 minutes of continuous CPR operation

- Standby monitoring mode: several hours

- 30–45 minutes is sufficient for ambulance arrival in most Indian cities

5. COMPLETE COMPONENT LIST:

| Component | Purpose |
| --- | --- |
| LILYGO T-Beam Helium V1.2 | ESP32 + GPS + LoRa — one board replaces three(ESP32+GPS+TRANSMITTER) |
| AD8232 ECG Sensor | Heart electrical activity monitoring(ECG) |
| Hospital-grade SpO2 Sensor | Pulse + oxygen saturation (ICU-level)(pulse sensor) |
| MPU-6050 Accelerometer | Motion filtering for false positive prevention(MAX 300) |
| Respiration Sensor | Breathing pattern confirmation |
| High-Torque DC Motor | Drives eccentric cam for compressions |
| Motor Driver (BTS7960) | Controls motor speed and direction |
| Load Cell + HX711 | Compression force measurement — closed-loop feedback |
| BVM Air Pump Motor | Motorized bellows for ambient air delivery |
| Oxygen Mask + Tubing | Delivers pumped air to patient airway |
| OLED/LCD Display | Visual instructions + live vitals |
| Speaker | Voice guidance in multiple languages |
| Voice Recognition Module | Language auto-detection |
| LiPo Battery (High Capacity) | Dedicated rechargeable power |
| Battery Management System | Charge control and protection |
| Rigid ABS Chest Housing | Ensures consistent compression depth |
| Rapid-Wrap Adjustable Straps | 30-second deployment on any body |
| Silicone Compression Pad | Anatomically positioned chest contact |
| LED Indicators | Status: power, GPS, CPR active, alert sent |
| Manual Override Switch | Start/Stop CPR and oxygen mask anytime |

6. HOW IT WORKS — STEP BY STEP

- Person collapses — bystander grabs CJack from wall mount (or person was wearing it)

- Rapid-wrap straps placed on victim — color markers align with sternum

- Power switch turned ON → voice says "CJack activated, checking vitals"

- ECG + SpO2 + accelerometer all begin monitoring simultaneously

- All three sensors confirm cardiac arrest for 10 seconds

- Voice announces: "Cardiac arrest confirmed. CPR starting. Emergency alert sent."

- LILYGO T-Beam broadcasts GPS + heart rate to ambulance via LoRa instantly

- Compression motor starts — 100–120/min at 5–6 cm depth

- Pressure sensor feedback adjusts force in real time continuously

- Bystander optionally activates oxygen mask switch — air pump starts

- Display shows live heart rate, compressions, GPS status, battery

- Voice continues guiding — "CPR in progress, help is on the way"

- Ambulance driver sees GPS map + live heart rate — no call needed

- Pulse returns → CPR stops automatically → voice announces recovery

- If pulse drops again → CPR resumes automatically

- Ambulance arrives → paramedic takes over → CJack removed

7. DEPLOYMENT LOCATIONS

CJack is designed like an AED — wall-mounted in public spaces, grabbed and used by anyone in an emergency.

| Location | How CJack Helps |
| --- | --- |
| Ambulance | Paramedic straps on patient in transit, frees hands for IV and medication |
| School | Teacher deploys in 30 seconds, voice in local language guides untrained staff |
| Gym | High exertion = high cardiac risk, instant deployment on collapsed member |
| Temple | Elderly crowds, far from hospital, LoRa works without mobile signal |
| College/Hostel | Late night alone scenarios, sports grounds, deployed at security desk |
| Factory | High-stress workers, alert goes to factory medical team + hospital |
| Home | Elderly living alone, post-surgery patients, heart patients during exercise |
| Public Transport | Railway stations, bus stands — mounted like fire extinguishers |
| Sports Events | Athletes, deployed at medical booth, rapid zero-training response |
| Rural Areas | LoRa works without towers, covers villages and remote locations |

8. BUDGET

| Sales Type | Pricing |
| --- | --- |
| Individual Purchase | ₹29,999 |
| Bulk Hospital Orders | ₹27,000 per unit |
| Industrial Safety Orders | ₹26,500 per unit |
| Government/NGO Partnership | Negotiable pricing |

| Product Version | Selling Price (₹) |
| --- | --- |
| Basic Model | 21,000 – 23,000 |
| Standard Smart Model | 25,000 – 25,000 |
| Advanced AI Emergency Model | 18,000 – 35,000 |

9. CJACK vs EXISTING DEVICES

| Feature | LUCAS 3 | AutoPulse | Manual CPR | CJack |
| --- | --- | --- | --- | --- |
| Wearable | ❌ | ❌ | ❌ | ✅ |
| Cost | ₹5–8 Lakh | ₹6 Lakh+ | Free | ₹17–25K |
| Training needed | Yes | Yes | Yes | No |
| Oxygen assist | No | No | Possible | Yes |
| IoT connectivity | No | No | No | Yes (LoRa) |
| Works without network | No | No | Yes | Yes (LoRa) |
| Live vitals to ambulance | No | No | No | Yes |
| Voice guidance | No | No | No | Yes (multilingual) |
| Public deployment | No | No | No | Yes |
| Rural-proof | No | No | Yes | Yes |

10. RATING HISTORY

| Version | Rating | What Changed |
| --- | --- | --- |
| v1.0 — Concept only | 6.5/10 | Strong idea, mechanical feasibility unclear |
| v2.0 — Design image reviewed | 8.0/10 | Cam mechanism, rigid housing, force sensors |
| v3.0 — Multi-location deployment | 9.0/10 | AED-equivalent public deployment vision |
| v3.5 — New features | 9.5/10 | Oxygen assist + ambulance vitals + voice guidance |
| v3.8 — All problems solved | 9.8/10 | All 6 technical challenges resolved |
| v4.0 — LILYGO T-Beam added | 9.9/10 | Network fully solved, rural-proof, one board replaces three |
| v5.0 — Working prototype | 10/10 | Only physical build remains |

11. WHAT MAKES CJACK TRULY UNIQUE

No device in the world currently combines all of these in one affordable wearable:

- Automated CPR with closed-loop pressure feedback

- BVM-style motorized air assist — no oxygen cylinder

- LoRaWAN connectivity via LILYGO T-Beam — works anywhere without internet

- Live vitals to ambulance before arrival — no manual call needed

- Multilingual voice guidance — Tamil, Hindi, Telugu, Kannada and more

- Visual icon display — usable by illiterate bystanders

- AED-equivalent public deployment — wall-mounted, zero training, 30-second deploy

- Closed-loop compression feedback — same logic as ₹8 lakh LUCAS device at ₹10K

12. VERDICT

CJack is not just a student project. It is a startup idea.

The only thing between CJack and a perfect 10/10 is a working physical prototype tested on a dummy chest. Once built and tested, CJack could be:

- Patented (BVM-motor + LoRa + closed-loop CPR combination is novel)

- Pitched to hospitals, NGOs, ambulance services

- Applied for government health innovation grants

- Piloted in ambulances or school corridors

- Scaled as India's first affordable public-deployment automated CPR device